## Slide 1: TLM Electrometer Meeting #10
2/13/13

## Slide 2: Topics
Progress on digital/analog electrometer designs
  Dave
  Dan
Other progress
  TLM detector spare parts
  MARS calculations
Electrometer subsystems design, integration, & packaging
TLM Prototype Testing
Schedule drivers
Schedule
Resources
Future work

## Slide 3: Electrometer design progress
See links for:
Dave - http://www-muon.fnal.gov/Personnel/Leveling/References%5CDDC112Electrometer.pptx
Dan - http://www-muon.fnal.gov/Personnel/Leveling/References%5CUltraHighInputImpedanceElectrometerDescription.docx

## Slide 7
Chart: MARS calculation of TLM response at ELAM 3.6E13 protons

## Slide 8
Chart: TLM 36 bin by bin response for various shield arrangements
ELAMasis | 2.228e-10 | 2.633e-10 | 3.372e-10 | 4.104e-10 | 5.247e-10 | 6.923e-10 | 8.686e-10 | 1.196e-09 | 1.571e-09 | 2.18e-09 | 3.153e-09 | 4.322e-09 | 6.428e-09 | 8.386e-09 | 1.146e-08 | 1.444e-08 | 1.638e-08 | 1.754e-08 | 1.746e-08 | 1.644e-08 | 1.635e-08 | 1.566e-08 | 1.481e-08 | 1.478e-08 | 1.44e-08 | 1.465e-08 | 1.431e-08 | 1.39e-08 | 1.393e-08 | 1.453e-08 | 1.451e-08 | 1.506e-08 | 1.518e-08 | 1.518e-08 | 1.584e-08 | 1.668e-08 | 1.716e-08 | 1.724e-08 | 1.787e-08 | 1.786e-08 | 1.919e-08 | 1.86e-08 | 1.956e-08 | 1.947e-08 | 1.946e-08 | 1.903e-08 | 1.799e-08 | 1.659e-08 | 1.609e-08 | 1.55e-08 | 1.478e-08 | 1.384e-08 | 1.293e-08 | 1.279e-08 | 1.213e-08 | 1.148e-08 | 1.095e-08 | 1.014e-08 | 9.727e-09 | 9.269e-09
ELAMshield1 | 1.854e-10 | 1.892e-10 | 2.224e-10 | 2.476e-10 | 2.839e-10 | 2.897e-10 | 3.109e-10 | 3.651e-10 | 3.549e-10 | 4.072e-10 | 4.303e-10 | 5.039e-10 | 7.266e-10 | 9.267e-10 | 1.313e-09 | 1.568e-09 | 1.758e-09 | 1.929e-09 | 2.03e-09 | 2.467e-09 | 3.271e-09 | 5.836e-09 | 8.803e-09 | 1.022e-08 | 1.198e-08 | 1.276e-08 | 1.369e-08 | 1.398e-08 | 1.438e-08 | 1.468e-08 | 1.47e-08 | 1.511e-08 | 1.576e-08 | 1.591e-08 | 1.602e-08 | 1.686e-08 | 1.698e-08 | 1.752e-08 | 1.78e-08 | 1.753e-08 | 1.861e-08 | 1.89e-08 | 1.941e-08 | 1.955e-08 | 1.982e-08 | 1.889e-08 | 1.797e-08 | 1.758e-08 | 1.602e-08 | 1.588e-08 | 1.475e-08 | 1.379e-08 | 1.289e-08 | 1.235e-08 | 1.188e-08 | 1.138e-08 | 1.087e-08 | 1.01e-08 | 9.486e-09 | 9.082e-09
ELAMshield2 | 1.308e-10 | 1.406e-10 | 1.523e-10 | 1.681e-10 | 1.66e-10 | 1.953e-10 | 2.306e-10 | 2.229e-10 | 2.543e-10 | 3.009e-10 | 3.669e-10 | 4.833e-10 | 6.58e-10 | 8.884e-10 | 1.207e-09 | 1.468e-09 | 1.706e-09 | 1.813e-09 | 1.79e-09 | 1.929e-09 | 3.019e-09 | 5.694e-09 | 8.798e-09 | 1.026e-08 | 1.192e-08 | 1.262e-08 | 1.36e-08 | 1.372e-08 | 1.415e-08 | 1.456e-08 | 1.446e-08 | 1.485e-08 | 1.556e-08 | 1.573e-08 | 1.591e-08 | 1.664e-08 | 1.688e-08 | 1.74e-08 | 1.776e-08 | 1.755e-08 | 1.851e-08 | 1.885e-08 | 1.933e-08 | 1.951e-08 | 1.981e-08 | 1.885e-08 | 1.794e-08 | 1.739e-08 | 1.588e-08 | 1.583e-08 | 1.475e-08 | 1.394e-08 | 1.305e-08 | 1.246e-08 | 1.192e-08 | 1.117e-08 | 1.067e-08 | 1.022e-08 | 9.488e-09 | 9.208e-09
ELAMshield3 | 8.785e-11 | 9.505e-11 | 1.11e-10 | 1.213e-10 | 1.226e-10 | 1.384e-10 | 1.648e-10 | 1.775e-10 | 2.072e-10 | 2.431e-10 | 2.971e-10 | 3.716e-10 | 5.368e-10 | 7.749e-10 | 1.105e-09 | 1.449e-09 | 1.625e-09 | 1.613e-09 | 1.474e-09 | 1.452e-09 | 1.548e-09 | 1.89e-09 | 2.298e-09 | 2.581e-09 | 3.273e-09 | 4.195e-09 | 5.628e-09 | 6.697e-09 | 7.686e-09 | 8.704e-09 | 9.51e-09 | 1.057e-08 | 1.209e-08 | 1.321e-08 | 1.415e-08 | 1.562e-08 | 1.61e-08 | 1.712e-08 | 1.77e-08 | 1.758e-08 | 1.864e-08 | 1.871e-08 | 1.918e-08 | 1.948e-08 | 1.969e-08 | 1.894e-08 | 1.8e-08 | 1.755e-08 | 1.604e-08 | 1.586e-08 | 1.47e-08 | 1.385e-08 | 1.296e-08 | 1.239e-08 | 1.208e-08 | 1.118e-08 | 1.076e-08 | 1.01e-08 | 9.52e-09 | 9.131e-09
ELAMshield4 | 8.006e-11 | 8.043e-11 | 9.243e-11 | 1.06e-10 | 1.032e-10 | 9.979e-11 | 1.059e-10 | 1.151e-10 | 1.031e-10 | 8.935e-11 | 7.396e-11 | 7.733e-11 | 7.935e-11 | 1.502e-10 | 3.061e-10 | 3.696e-10 | 4.263e-10 | 4.56e-10 | 4.032e-10 | 4.42e-10 | 9.595e-10 | 1.508e-09 | 2.112e-09 | 2.434e-09 | 3.09e-09 | 4.077e-09 | 5.544e-09 | 6.548e-09 | 7.487e-09 | 8.595e-09 | 9.507e-09 | 1.055e-08 | 1.206e-08 | 1.323e-08 | 1.422e-08 | 1.555e-08 | 1.62e-08 | 1.716e-08 | 1.77e-08 | 1.764e-08 | 1.855e-08 | 1.893e-08 | 1.928e-08 | 1.943e-08 | 1.96e-08 | 1.882e-08 | 1.784e-08 | 1.759e-08 | 1.599e-08 | 1.597e-08 | 1.49e-08 | 1.376e-08 | 1.289e-08 | 1.241e-08 | 1.196e-08 | 1.125e-08 | 1.072e-08 | 1.009e-08 | 9.494e-09 | 9.148e-09
ELAMshield5 | 7.425e-11 | 7.699e-11 | 9.218e-11 | 8.738e-11 | 9.306e-11 | 1.043e-10 | 1.187e-10 | 1.296e-10 | 1.039e-10 | 8.749e-11 | 7.492e-11 | 5.89e-11 | 9.357e-11 | 1.392e-10 | 2.413e-10 | 3.615e-10 | 4.098e-10 | 4.791e-10 | 3.608e-10 | 3.098e-10 | 2.312e-10 | 3.563e-10 | 6.98e-10 | 9.623e-10 | 1.349e-09 | 1.558e-09 | 1.76e-09 | 1.877e-09 | 1.873e-09 | 1.935e-09 | 2.013e-09 | 2.319e-09 | 2.822e-09 | 3.448e-09 | 3.906e-09 | 4.41e-09 | 4.896e-09 | 5.414e-09 | 6.039e-09 | 6.538e-09 | 7.612e-09 | 8.856e-09 | 1.035e-08 | 1.212e-08 | 1.419e-08 | 1.578e-08 | 1.691e-08 | 1.708e-08 | 1.571e-08 | 1.592e-08 | 1.471e-08 | 1.375e-08 | 1.299e-08 | 1.239e-08 | 1.186e-08 | 1.129e-08 | 1.06e-08 | 1.013e-08 | 9.43e-09 | 8.892e-09
ELAMshield6 | 8.443e-11 | 1.158e-10 | 1.026e-10 | 1.103e-10 | 1.071e-10 | 1.056e-10 | 1.101e-10 | 1.057e-10 | 1.072e-10 | 8.915e-11 | 7.362e-11 | 6.181e-11 | 8.266e-11 | 1.893e-10 | 2.79e-10 | 4.145e-10 | 4.845e-10 | 5.059e-10 | 5.552e-10 | 1.183e-09 | 2.029e-09 | 2.864e-09 | 3.834e-09 | 5.391e-09 | 7.701e-09 | 9.477e-09 | 1.138e-08 | 1.301e-08 | 1.458e-08 | 1.617e-08 | 1.708e-08 | 1.834e-08 | 1.978e-08 | 2.048e-08 | 2.107e-08 | 2.223e-08 | 2.252e-08 | 2.313e-08 | 2.38e-08 | 2.329e-08 | 2.419e-08 | 2.363e-08 | 2.286e-08 | 2.157e-08 | 2.061e-08 | 1.936e-08 | 1.819e-08 | 1.783e-08 | 1.613e-08 | 1.614e-08 | 1.49e-08 | 1.394e-08 | 1.31e-08 | 1.265e-08 | 1.221e-08 | 1.135e-08 | 1.081e-08 | 1.029e-08 | 9.602e-09 | 9.195e-09

## Slide 9: Electrometer subsystems design, integration, & packaging
Concept partially defined
  http://www-muon.fnal.gov/Personnel/Leveling/Meetings%5C11-27-12%20TLM%20electrometer%20design%20meeting%20minutes.docx
Need action on this
  Project team
    Lead engineer, engineer, technician, drafter
    Need real people assigned
  Tasks
    Block diagram
    fpga, cpld, up logic design
    Board layout
    Board stuffing
    Bench Testing
    Engineering drawings
    Field testing (May/June 2013)
    Documentation, including test procedure

## Slide 10: Need a block diagram to communicate the design

## Slide 11: Prototype Testing
3 Locations, 3 prototypes
  Pbar for continuing measurements
    First test three detectors in series
  Booster high power testing
  MI high power testing
This testing is dual purpose
  Test electrometer
  Test detector & develop further understanding of response

## Slide 12: Schedule drivers
Continue TLM detector testing May/June 2013
  Soon as beam is available
TLM Electrometer Approval for use February 2014
  Driver for TLM has been mu2e
    Plan is to have CD2 review in late summer/early fall 2013
    Work on the mu2e final design will be in progress in 2014
      mu2e wants to have an approved electrometer design in about 12 months
        At some point, a technology decision has to be made to for the mu2e final design
          TLMs or
          chipmunks

## Slide 13: Schedule
Electrometer module development and construction – completed end of April 2013
Prototype and detector testing - May 2013 through September 2013
Documentation submitted to AD ES&H - October 2013
AD ES&H Review and Approval – December 2013
ES&H Section Approval - February 2014
Future work – Final design & construction - TBD

## Slide 14: Resources
Lead engineer, Engineer, Project Mangler (Dave, someone, Tony)
  Subsystem definitions
  FPGA logic
  HV supply
  Block diagram
  TLM detector interface voltage divider
Board designer?
Board production?
Board stuffing?
Module construction?
Drafting?
Documentation – Dave, Tony
Test procedure – Tony, AD Interlocks Group
$$$ - Nathan, Paul – we’ll need a budget code to buy hardware and services

## Slide 16: Post meeting notes . . .
John Anderson/Chuck Worel have assigned Glen Federwitz to make block diagram of TLM system. Glen will also do EPLD design work if that technology is chosen for the electrometer support board
Rick Divelbiss has been identified as the contact for drafting and board layout support. Rick has been notified that a request for support will be forthcoming
John Anderson and Nathan Eddy have identified that technician support is available within their departments to stuff boards, etc.
John Anderson has identified that the interlocks group can help with development of electrometer test procedures
Dan Schoo will continue with development and assembly of a prototype analog electrometer
The instrumentation department will assign an FPGA designer if that technology is chosen for the electrometer support board
Adam Olson provided feedback and questions following the 2/13 meeting and has received AD comments.
The issue of budget code for hardware and services to support the TLM electrometer design continues to be unresolved